# PLC MODIFICATION REQUEST FORM

Modification #	Date:

PLC Tag No.   K11ST1 and K21RE

Description:  gypsum/additives stacker and reclaimer

Equipment/s to be affected:  gypsum/additives stacker and reclaimer

DETAILS OF PLC signal MODIFICATION:

Modify existing pile limits to add third pile rather than two piles

Type of Request: □ New	□ Permanent □ Temporary

REASON FOR SIGNAL MODIFICATION:  new pile will be used for clinker .

Expected Duration of the PLC signal Modification if temporary:

| Date and time |  |
| --- | --- |
| Applied | Canceled |

Performed by: _____________ Signature: _____________

HOD Requester:		Signature:

Requester manager:

Signature:

E&I HOD:		                                                        Signature:

PME HOD:		                                                        Signature:

Maintenance manager:

Document No: HIMS-L2-F-01-14.02

Date Issued: 17-03-2019 Next Rev, Date:1/10/2027

Revision number: 04